## Collective sources
Water Sources | Source Description | village | Conducted by | Tech used | IsPublic? | source_type | location-Latitude | location-Longitude | Free clorine hach | Total clorine hach | Total alkalinity hach | pH hach | ph hach Inf | Total hardness hach | Temperature sensor [C] | pH sensor | pH_sensor_Inference | Conductivity sensor [ms/cm] | TDS sensor [ppm] | Turbidity av | turbidity_STDV | Dissolved Oxygen [mg/L] | ORP [mV] | Incubation Temp | Ecoli before treatment | Coliform before treatment | Ecoli after treatment | Coliform after treatment | Total Coli | E Coli | Calcium lab test | Chloride lab test | Alkalinity lab test | pH lab test | Total hardness lab test | TDS lab test | Bacteria
Borewell tap DR2 | DRampur2 near Pit tank | DRampur2 | Asaf | sensor | yes | Borewell | 16.3499 | 77.4952 | [6 empty] | 29.63 | 7.28 | Acceptable | 2.66 | 1506.02 |  |  | 5.06 | [6 empty] | Present | Absent
DR2 Well near Sump | DRampur2 Well near Sump | DRampur2 | Reshma | laboratory | yes | Borewell | 16.3487 | 77.4962 | [22 empty] | 200.25 | 498.84 | 348 | 8.01 | 786.7 | 2157 | Absent
DR2 Tank near school | DRampur2 Well storage tank #1 (near school) | DRampur2 | Reshma | laboratory | yes | Tank | 16.3466 | 77.4949 | [22 empty] | 110.59 | 228.92 | 230 | 8.03 | 396.35 | 986 | Absent
DR2 Tank near Comm. hall | DRampur2 Well storage tank #2 Govt Community Center | DRampur2 | Reshma | laboratory | yes | Tank | 16.3511 | 77.4987 | [22 empty] | 49.11 | 219.93 | 216 | 7.95 | 276.24 | 884 | Absent
DR2 Tank pit tank | DRampur2 Storage Tank 3 (from Krishna River) DR2 | DRampur2 | Reshma | laboratory | yes | Tank | 16.3508 | 77.4957 | [22 empty] | 69.11 | 196.93 | 224 | 8.15 | 274.24 | 881 | Absent
Handpump Kurvakurda | Hand Pump 1 (Kurvakurda) Near HH Pratap | Kurvakurda | Dana | sensor+hach | yes | Handpump | 16.3427 | 77.5028 | 0 | 0 | 240 | 8.4 | Acceptable | 425 | 29.3 | 7.66 | Acceptable | 2.38 | 924 | 8.575 | 0.51619 | 6.89 | 139.66 | 35 | Absent | Present | Absent | Present
Handpump DR1 | Handpump DR1 | DRampur1 | Dana | sensor+hach | yes | Handpump | 16.3466 | 77.5024 | 0 | 0 | 240 | 8.4 | Acceptable | 425 | 28.94 | 7.97 | Acceptable | 2.31 | 877 | 1.49 | 0.21213 | 6.79 | 139.65 | 35 | Present | Present | Present | Absent
Handpump DR2 | Handpump DR2 | DRampur2 | Dana | sensor+hach | yes | Handpump | 16.3505 | 77.5001 | 0 | 0 | 240 | 8.4 | Acceptable | 425 | 30 | 7.68 | Acceptable | 2.28 | 916.45 | 0.68 | 0.098995 | 7.21 | 139.65 | 24 | Absent | Absent | Absent | Absent
Krishna river | Krishna river | DRampur1 | Asaf, Dana, Reshma | sensor, sensor+hach, laboratory | yes | River | 16.3543 | 77.5083 | [6 empty] | 19 | 9.11 | Above permissible | 0.59 | 296.48 |  |  | 11.12 | [6 empty] | Present | Present
Kurvakurda Borewell 1 | Kurvakurda borewell | Kurvakurda | Asaf | sensor | yes | Borewell | 16.3437 | 77.5036 | [6 empty] | 32.25 | 8.15 | Acceptable | 2.09 | 572.88 |  |  | 9.8 | [6 empty] | Present | Absent
RO DR1 | RO DRampur 1 | DRampur1 | Asaf, Dana, Reshma | sensor, sensor+hach, laboratory | yes | RO | 16.3502 | 77.5059 | [6 empty] | 31.25 | 9.56 | Above permissible | 0.16 | 141.52 |  |  | 10.24 | [6 empty] | Present | Absent
RO DR2 | RO DRampur 2 | DRampur2 | Asaf, Dana, Reshma | sensor, sensor+hach, laboratory | yes | RO | 16.3499 | 77.4977 | [6 empty] | 31.06 | 9.53 | Above permissible | 0.19 | 152.76 |  |  | 9.8 | [6 empty] | Present | Absent
RO Kurvakurda | RO Kurvakurda | Kurvakurda | Asaf, Dana, Reshma | sensor, sensor+hach, laboratory | yes | RO | 16.3435 | 77.503 | [6 empty] | 34.25 | 9.35 | Above permissible | 0.06 | 92.56 |  |  | 11.7 | [6 empty] | Present | Absent
Kurvakurda tank pipe | Storage Tank Kurvakurda near to Chief house | Kurvakurda | Reshma | laboratory | yes | Tank | 16.3405 | 77.5037 | [22 empty] | 203.55 | 308.91 | 280 | 7.58 | 798.7 | 2053 | Absent

## Krishna river
Tech used | Free clorine hach | Total clorine hach | Total alkalinity hach | pH hach | Total hardness hach | Temperature sensor [C] | pH sensor | Conductivity sensor [ms/cm] | TDS sensor [ppm] | Turbidity av | Dissolved Oxygen [mg/L] | ORP [mV] | Ecoli before treatment | Coliform before treatment | Ecoli after treatment | Coliform after treatment | Total Coli | E Coli | Calcium lab test | Chloride lab test | Alkalinity lab test | pH lab test | Total hardness lab test | TDS lab test | Bacteria
sensor | [5 empty] | 19 | 9.11 | 0.59 | 296.48 |  | 11.12 | [5 empty] | Present | Present
sensor+hach | 0 | 0 | 120 | 8.4 | 250 | 28.5 | 8.05 | 1.92 | 1036.31 | 124 | 6.32 |  | Present | Present | Present | Present
laboratory | [18 empty] | 96.96 | 204.93 | 240 | 8.1 | 286.25 | 894 | Absent

## RO DR1
Tech used | Free clorine hach | Total clorine hach | Total alkalinity hach | pH hach | Total hardness hach | Temperature sensor [C] | pH sensor | Conductivity sensor [ms/cm] | TDS sensor [ppm] | Turbidity av | Dissolved Oxygen [mg/L] | ORP [mV] | Ecoli before treatment | Coliform before treatment | Ecoli after treatment | Coliform after treatment | Total Coli | E Coli | Calcium lab test | Chloride lab test | Alkalinity lab test | pH lab test | Total hardness lab test | TDS lab test | Bacteria
sensor | [5 empty] | 31.25 | 9.56 | 0.16 | 141.52 |  | 10.24 | [5 empty] | Present | Absent
sensor+hach | 0 | 0 | 40 | 6.2 | 50 | 28.56 | 8.77 | 0.16 | 250 | 0 | 7.26 | 168.95 | Absent | Absent | Absent | Absent
laboratory | [18 empty] | 8.81 | 35.98 | 40 | 7.05 | 44.03 | 161 | Absent

## RO Kurvakurda
Tech used | Free clorine hach | Total clorine hach | Total alkalinity hach | pH hach | Total hardness hach | Temperature sensor [C] | pH sensor | Conductivity sensor [ms/cm] | TDS sensor [ppm] | Turbidity av | Dissolved Oxygen [mg/L] | ORP [mV] | Ecoli before treatment | Coliform before treatment | Ecoli after treatment | Coliform after treatment | Total Coli | E Coli | Calcium lab test | Chloride lab test | Alkalinity lab test | pH lab test | Total hardness lab test | TDS lab test | Bacteria
sensor | [5 empty] | 34.25 | 9.35 | 0.06 | 92.56 |  | 11.7 | [5 empty] | Present | Absent
sensor+hach | 0 | 0 | 40 | 6.2 | 50 | 28.65 | 8.89 | 0.34 | 267.2 | 0 | 7.34 | 145.96 | Absent | Absent | Absent | Absent
laboratory | [18 empty] | 10.41 | 23.99 | 16 | 7.1 | 42.03 | 108

## RO DR2
Tech used | Free clorine hach | Total clorine hach | Total alkalinity hach | pH hach | Total hardness hach | Temperature sensor [C] | pH sensor | Conductivity sensor [ms/cm] | TDS sensor [ppm] | Turbidity av | Dissolved Oxygen [mg/L] | ORP [mV] | Ecoli before treatment | Coliform before treatment | Ecoli after treatment | Coliform after treatment | Total Coli | E Coli | Calcium lab test | Chloride lab test | Alkalinity lab test | pH lab test | Total hardness lab test | TDS lab test | Bacteria
sensor | [5 empty] | 31.06 | 9.53 | 0.19 | 152.76 |  | 9.8 | [5 empty] | Present | Absent
sensor+hach | 0 | 0 | 40 | 6.2 | 120 | 28.88 | 8.46 | 0.42 | 270.1 | 0.03 | 7.43 | 134.77 | Absent | Absent | Absent | Absent
laboratory | [18 empty] | 10.41 | 43.98 | 36 | 7.13 | 74.06 | 198 | Absent